## Sheet1
factory machine assets PIOLET PLANT
SN | LOCATION | DEPARTMENT | CATEGORY | BRAND | SERIAL | CONDITON | STATUS | DISPOSED | UNDER | NOTES | Annual | LABEL | INVOICE DATE | INVOICE NO | SUPPLIER NAME | PRICE | WARRANTY | Issued BY
[5 empty] | NO: |  | IN USE OR NOT IN USE |  | MAINTENANCE |  | Maintenance | NUMBER
1 | UNIT1 | PILOT PLANT | Fire Hydrant | LUBI |  | working | IN USE |  |  |  | 16/09/25 | UN1PPFHP001
| UNIT1 | PILOT PLANT | PUMP
2 | UNIT1 | PILOT PLANT | High Vacuum Pump | TOSHNIWAL | 243162 | working | IN USE |  |  |  |  | UN1PPHVP002
3 | UNIT1 | PILOT PLANT | WATER VACUUM PUMP | FINETECH | 1625CS31 | working | IN USE |  |  |  |  | UN1PPWVP003
4 | UNIT1 | PILOT PLANT | COOLED WATER CHILLER | AUXICON | KCA-15 15TR | working | IN USE |  |  |  |  | UN1PPCWC004
5 | UNIT1 | PILOT PLANT | 15TR ROUND TYPE |  |  | working | IN USE |  |  |  |  | UN1PP15TR005
|  | PILOT PLANT | COOLIN TOWER
6 | UNIT1 | PILOT PLANT | AIR COMPRESSOR | MSC3D |  | working | IN USE |  |  |  |  | UN1PPAIRC006
7 | UNIT1 | PILOT PLANT | DIESEL FIRED STEAM GENERATOR | IE2 | 3SL100L4P3 | working | IN USE |  |  |  |  | UN1PPDFSG007
8 | UNIT1 | PILOT PLANT | REACTOR 1 |  |  | working | IN USE |  |  |  | 2025-10-25 | UN1PPRE108
|  | PILOT PLANT | REACTOR 2 |  |  | working | IN USE |  |  |  | 2025-10-25 | UN1PPRE208
9 | UNIT1 |  | FIRE MONO BLOCK | XR1450 |  | Not working | NOT IN USE | YES |  | SCRAP |  | UN1PPFMBP009
|  | PILOT PLANT | PUMP
10 | UNIT1 | PILOT PLANT | HAND STACKER MACHINE | HT | 202006003 | working | IN USE |  |  |  |  | UN1PPHSM010
11 | UNIT1 | PILOT PLANT | Oil Bath | DEEPALI |  | working | IN USE |  |  |  |  | UN1PPOB011 | 2025-07-29 | DI/25/326 | DEEPALI UNITED | 54395.7 | 1YEAR
13 | UNIT1 | PILOT PLANT | OVER HEAD stirrer | ELECTRO TECH |  | working | IN USE |  |  |  |  | UN1PPOHS013
14 | UNIT1 | PILOT PLANT | AODD PUMP1 |  |  | working | IN USE |  |  |  |  | UN1PPAP014
15 | UNIT1 | PILOT PLANT | AODD PUMP2 |  |  | working | IN USE |  |  |  |  | UN1PPAP015
16 | UNIT1 | PILOT PLANT | HAND PALLET |  |  | working | IN USE |  |  |  |  | UN1PPPSM016
19 | UNIT1 | PILOT PLANT | Drum roller |  |  | GOOD | IN USE |  |  |  |  | UN1PPDR019
SN | LOCATION | DEPARTMENT | CATEGORY | MODEL | MODEL NO | CONDITON | IN US E OR NOT IN USE | DISPOSED | MAINTENANCE | NOTES | Annual Main | LABEL NUMBER | INVOICE DATE | INVOICE NO | SUPPLIER NAME | PRICE | WARRANTY
19 | UNIT1 | R&D | GCMS1 | AGILENT | CN17082020 | working | IN USE |  |  |  |  | UN1R&DGCM001
20 | UNIT1 | R&D | GCMS2 | AGILENT | CN2452C029 | working | IN USE |  |  |  |  | UN1R&DGCM002
21 | UNIT1 | R&D | FTIR3 | AGILENT | 630 FTIR | working | IN USE |  |  |  |  | UN1R&DFTIR003
22 | UNIT1 | R&D | MAGNETIC STIRRER4 | LAB QUEST |  | working | IN USE |  |  |  |  | UN1R&DMS004
23 | UNIT1 | R&D | MAGNETIC STIRRER5 | IKA |  | working | IN USE |  |  |  |  | UN1R&DMS005
26 | Mangalore university | R&D | MAGNETIC STIRRER8 | LAB QUEST |  | working | IN USE |  |  | Free Gift |  | PPRMS008
28 | UNIT1 | R&D | MAGNETIC STIRRER10 | IKA |  | working | IN USE |  |  |  |  | UN1R&DMS010
30 | UNIT1 | R&D | MAGNETIC STIRRER12 | LAB QUEST |  | working | IN USE |  |  |  |  | UN1R&DMS012
31 | UNIT1 | R&D | MAGNETIC STIRRER13 | IKA |  | working | IN USE |  |  |  |  | UN1R&DMS013
32 | UNIT1 | R&D | SONICATOR 14 | SAMARTH |  | working | IN USE |  |  |  |  | UN1R&DSONI014
33 | UNIT1 | R&D | CENTRIFUGE 15 | NEUATION |  | working | IN USE |  |  |  |  | UN1R&DCEN015
34 | UNIT1 | R&D | CENTRIFUGE 16 | REMI |  | working | IN USE | YES |  |  |  | UN1R&DCEN016
35 | UNIT1 | R&D | vacuum pump17 | V125 |  | working | IN USE |  |  |  |  | UN1R&DCEN017
36 | UNIT1 | R&D | ROTA EVA 18 | IKA |  | working | IN USE |  |  |  |  | UN1R&DRE018
38 | Mangalore university | R&D | MAGNETIC STIRRER 20 | LAB QUEST |  | working | IN USE |  |  | Free Gift |  | PPRMS020
40 | UNIT1 | R&D | vacuum pump22 |  |  | NOT working | NOT IN USE | YES |  |  |  | UN1R&DVP022
41 | UNIT1 | R&D | vacuum pump23 | VALUE |  | working | IN USE |  |  |  |  | UN1R&DVP023
42 | UNIT1 | R&D | MAGNETIC STIRRER 24 | NEUATION |  | working | IN USE |  |  |  |  | UN1R&DMS024
43 | UNIT1 | R&D | MAGNETIC STIRRER 25 | LAB QUEST |  | working | IN USE |  |  |  |  | UN1R&DMS025
44 | UNIT1 | R&D | MAGNETIC STIRRER 26 | IKA |  | working | IN USE |  |  |  |  | UN1R&DMS026
45 | UNIT1 | R&D | MAGNETIC STIRRER 27 | IKA |  | working | IN USE |  |  |  |  | UN1R&DMS027
46 | UNIT1 | R&D | MAGNETIC STIRRER 28 | IKA |  | working | IN USE |  |  |  |  | UN1R&DMS028
47 | UNIT1 | R&D | MAGNETIC STIRRER 29 | IKA |  | working | IN USE |  |  |  |  | UN1R&DMS029
48 | UNIT1 | R&D | MAGNETIC STIRRER 30 | LAB QUEST |  | working | IN USE |  |  |  |  | UN1R&DMS030
52 | UNIT1 | R&D | LAB STIRRER 34 | DEEPALI |  | working | IN USE |  |  |  |  | UN1R&DLS034
53 | UNIT1 | R&D | MAGNETIC STIRRER 35 | REM |  | NOTworking | NOT IN USE | YES |  |  |  | UN1R&DMS035
54 | UNIT1 | R&D | MAGNETIC STIRRER 36 | IKA |  | NOT working | NOT IN USE | YES | not received | REPAIR 07-02-2026 |  | PPRMS036
55 | UNIT1 | R&D | MAGNETIC STIRRER 37 | IKA |  | NOT working | NOT IN US | YES | not received | REPAIR 07-02-2026 |  | PPRMS037
56 | UNIT1 | R&D | MAGNETIC STIRRER 38 | IKA |  | NOT working | NOT IN US | YES | not received | REPAIR 07-02-2026 |  | PPRMS038
57 | UNIT1 | R&D | UV 39 | INSPIRING |  | working | IN USE |  |  |  |  | UN1R&DUV039
VISON
58 | UNIT1 | Analytical Lab3 | KF TITRATOR 40 | LASCO | 7493 | working | IN USE |  |  |  |  | UN1ALKF040
59 | UNIT1 | Analytical Lab3 | FLASH POINT 41 |  |  | working | IN USE |  |  |  |  | UN1ALFP041
60 | UNIT1 | Analytical Lab3 | REFRA 42 | DOAR |  | working | IN USE |  |  |  |  | UN1ALREF042
61 | UNIT1 | Analytical Lab3 | OVEN DRYER 43 | FOURTECH |  | working | IN USE |  |  |  |  | UN1ALOD043
62 | UNIT1 | Analytical Lab3 | MELTING POINT 44 |  |  | working | IN USE |  |  |  |  | UN1ALMP044
63 | UNIT1 | Analytical Lab3 | POLARIMETER HALF SHADE 45 | Generic |  | working | IN USE |  |  |  |  | UN1ALPHS045
64 | UNIT1 | R&D | MAGNETIC STIRRER 46 |  |  | working | IN US E |  |  |  |  | UN1R&DMS046
65 | UNIT1 |  | GENERATOR 10 KVA | ASHOKA LEYLAND |  | working | IN USE |  |  |  |  | UN1GEN047
66 | UNIT1 |  | GENERATOR | MAHINDRA | ESCP62.5 | working | IN USE |  |  |  |  | UN1GEN48
77 | UNIT1 | PILOT PLANT | NUTCH FILTER |  |  | working | [5 empty] | UN1PPNF049
78 | UNIT1 | PILOT PLANT | vacuum dryer |  |  | working | NOT IN USE |  |  | shifted to UNIT4 |  | PPVD050
79 | UNIT1 | R&D | MAGNETIC STIRRER | LAB QUEST |  | working | IN USE |  |  |  |  | UN1R&DMS51
80 | UNIT1 | R&D | MAGNETIC STIRRER | LAB QUEST |  | working | IN USE |  |  |  |  | UN1R&DMS52
81 | UNIT1 | R&D | Compound Microscope | OMAX |  | working | IN USE |  |  |  |  | UN1R&DCM53
82 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150706 | working | IN USE |  |  |  |  | UN1R&DMSN014 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
83 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150713 | working | IN USE |  |  |  |  | UN1R&DMSN015 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
84 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150718 | working | IN USE |  |  |  |  | UN1R&DMSN012 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
85 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150715 | working | IN USE |  |  |  |  | UN1R&DMSN011 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
86 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150707 | working | IN USE |  |  |  |  | UN1R&DMSN001 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
87 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150712 | working | IN USE |  |  |  |  | UN1R&DMSN010 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
88 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150727 | working | IN USE |  |  |  |  | UN1R&DMSN004 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
89 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150719 | working | IN USE |  |  |  |  | UN1R&DMSN003 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
90 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150723 | working | IN USE |  |  |  |  | UN1R&DMSN002 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
91 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150716 | working | IN USE |  |  |  |  | UN1R&DMSN018 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
92 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150720 | working | IN USE |  |  |  |  | UN1R&DMSN019 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
93 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150711 | working | IN USE |  |  |  |  | UN1R&DMSN020 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
94 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150725 | working | IN USE |  |  |  |  | UN1R&DMSN021 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
95 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150709 | working | IN USE |  |  |  |  | UN1R&DMSN007 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
96 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150717 | working | IN USE |  |  |  |  | UN1R&DMSN006 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
97 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150724 | working | IN USE |  |  |  |  | UN1R&DMSN017 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
98 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150730 | working | IN USE |  |  |  |  | UN1R&DMSN009 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
99 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VCI50852 | working | IN USE |  |  |  |  | UN1R&DMSN005 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
20 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150710 | working | IN USE |  |  |  |  | UN1R&DMSN008 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
21 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150708 | working | IN USE |  |  |  |  | UN1R&DMSN016 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
22 | UNIT1 | R&D | MAGNETIC STIRRER NEW | NEUATION | VC150728 | working | IN USE |  |  |  |  | UN1R&DMSN013 | 2026-05-09 | 34 | DHRUVA | 38940 | 1YEAR
23 | UNIT1 | PILOT PLANT | INDUCTION COOKER | PIGEON | CR2606047600 | working | IN USE |  |  |  |  | UN1PPIC014 | 2026-06-20 |  | DMART | 2199 | 1 YEAR | Suraj